## Slide 1: UPDATES FOR SAM

## Slide 2: STEPS
Plot the data Sam gave me
Generate synthetic data using each method.
Write code that predicts the reactive power control used.
Validate the performance of the code.

## Slide 3: METHODS OF REACTIVE POWER CONTROL
Fixed PF
Volt-VAR control
Volt-Watt control

## Slide 4: PLOTTING SAM’S DATA
QUE: How often does the setting change? Good range to plot

## Slide 5: PV Panel - 1

## Slide 6: PV Panel - 2

## Slide 7: PV Panel - 8
Fair to say the control method can be determined graphically?
What about analytically?

## Slide 8: ANALYTICAL METHOD
For each PV Panel, compute the following:
  Power factor
  Ratio of q to v
  Ratio of p to v
If the 90% of power factor are within ε of each other, Fixed PF.
If the 90% of q/v are within ε of each other, Volt-Var.
If the 90% of p/v are within ε of each other Volt-Watt.

## Slide 9: CODE

## Slide 10: RESULTS